## About
CRpUNL Capacity Retired per Unit Net Loss | Oklahoma | 2024-01-12
Sources: | (none)
This is a calibrated parameter. It can be calibrated by aligning early-year retirements with historical retirements once other input data are in place.
Certain plant types are less prone to economic retirement because they are maintained for local reliability purposes.
These includes: natural gas steam turbines, natural gas peakers, and petroleum plants. For these plant types we set the
retirement fraction very low.
Hydro plants typically have other revenue streams and other considerations when determining whether or not to retire them,
so we assume a value of zero

## CRpUNL
Unit: MW/($/MWh) | Fraction of start year capacity
hard coal | 422.616
natural gas steam turbine | 7.2405
natural gas combined cycle | 536.647
nuclear | 193.001
hydro | 0
onshore wind | 236.004
solar PV | 91.6762
solar thermal | 3.4958
biomass | 21.656
geothermal | 5.045
petroleum | 2.4174
natural gas peaker | 12.7104
lignite | 5.2844
offshore wind | 0.0586
crude oil | 0
heavy or residual fuel oil | 0
municipal solid waste | 3.5218
hard coal w CCS | 0
natural gas combined cycle w CCS | 0
biomass w CCS | 0
lignite w CCS | 0
small modular reactor | 0
hydrogen combustion turbine | 0
hydrogen combined cycle | 0